## Sheet1
PART NUMBER | DESCRIPTION | SUGGESTED LIST PRICE
500023 | KOLD DRAFT ICE MACHINE CLEANER | 51.05
102100601 | EXPANSION VALVE (1/2-C) | 543.44
102100701 | RELAY SOCKET (EAGLES, GB400R) | 33.18
102100801 | VALVE BODY (GB430R & GT330) | 120
102101001 | VALVE BODY-ALL LESS 430R & 122 | 135.85
102101101 | COIL (GB421/GB431/GT331/V451/V | 160.77
102101201 | COIL (GB427/437/620/630/1224/V | USE 515100712
102101401 | FAN MOTOR (GT331A/V651A) | 448.33
102101402 | CONDENSER FAN MOTOR (GT337A) | 514
102101501 | CONDENSER FAN MOTOR 230/60CY. | 450.59
102101602 | FAN BLADE 360/560/650 | 31.13
102101802 | AIR COOLED CONDENSER (GB630A) | 950.47
102101803 | AIR COOLED COND. GT550 GT560 | 1381.21
102102001 | LIQUID COOLED CONDENSER (GB430 | 667.97
102102004 | LIQUID COOLED CONDENSER (MGB64 | USE 514100310
102102005 | LIQUID COOLED CONDENSER (MGB43 | 769.85
102102101 | LIQUID COOLED CONDENSER | 735.89
102102302 | RECEIVER (GB1224R) | 634
102102502 | EVAPORATOR (C) (GT330) | 1532.31
102102503 | EVAPORATOR (HK) (GT330) | 1709.98
102102504 | EVAPORATOR (K) (GT330) | 1532.31
102103501 | CONTACTOR | 104.15
102103601 | CONTACTOR (GB427/437/620/630/1 | USE 510100502
102103602 | CONTACTOR (GB1225/GB1245) | 149.45
102103701 | RELAY - PLUGIN, DPDT/120VAC | 101.27
102103801 | RELAY-PLUG IN (GB427/437/620/6 | USE 510100602
102104401 | RUN CAP. (GB421/GB431/GT331/EA | 78.17
102104702 | POTENTIAL START RELAY (GB634) | 182.78
102104704 | POTENTIAL START RELAY GB431/GT | 237.75
102104705 | POTENTIAL START RELAY (GB644) | 181.15
102104706 | POTENTIAL START RELAY (GT334) | 237.75
102104709 | POTENTIAL START RELAY 551/561 | 135.03
102104710 | POTENTIAL START RELAY (GT357) | 203.79
102104711 | POTENTIAL START RELAY | 135.03
102104712 | POTENTIAL START RELAY | 172.1
102104713 | POTENTIAL START RELAY | USE 518100109
102104714 | POTENTIAL START RELAY (GT554) | 193.66
102104715 | POTENTIAL START RELAY (GB1257) | 172.1
102105202 | PUMP DOWN CONTROL/LOW PRESSURE | 192.47
102105301 | ICE-OFF-WASH SWITCH | 76.99
102105501 | HI-PRESS. CUT-OUT | 325.37
102106601 | RECEIVER (GB400/600/GT330W/V45 | 120
102107101 | DRIER (GB1224) | USE 515100501
102110001 | DRAIN PAN (GB NEO) | 340.52
102110002 | DRAIN PAN/CHUTE-GT3 BOT DRAIN | 509.46
102110003 | DRAIN PAN/CHUTE (GT331 MULTIPL | 438.23
102110004 | DRAIN PAN (GT551) | 458.96
102110005 | CHUTE (GT551) | 272.41
102112702 | WATER PUMP (GB624/GB634/GB1224 | 1028.97
102112703 | WATER PUMP (GT334,GT344,GT354) | 521.05
102114201 | L. L. CONTROL (GB407/600/1224/ | USE 504101001
102114803 | DRIVEN PULLEY 72 TOOTH T250/51 | 191.24
102115002 | DRIVE BELT T-250/T-251 | 135.85
102115202 | BEARING T-250/T-251 | 204.31
102115402 | WATER DISTRIBUTION KIT (GT331) | 56.9
102116602 | CHECK VALVE-HARV. REG. (GB430/ | 204.31
102118802 | EXPANSION VALVE (GT331) | 210.59
102119121 | COMPRESSOR GT551 | 1528.39
102119122 | COMPRESSOR GB1254 | USE 518101901
102119123 | COMPRESSOR GB1255 | 3090.75
102119124 | COMPRESSOR GT351 | 1517.07
102119127 | COMPRESSOR GB657 | 2445.43
102119129 | COMPRESSOR GB457 | 1551.03
102119130 | COMPRESSOR GB1208 | 2739.79
102119132 | COMPRESSOR GT354 | 1471.79
102119133 | COMPRESSOR GT554 | 1596.33
102119134 | COMPRESSOR GB1257 | 1843.72
102119502 | START CAPACITOR | 137.48
102119508 | START CAP. (GT551) | 72.47
102119509 | START CAPACITOR (GB1254) | USE 518100212
102119510 | START CAPACITOR | 122.26
102119701 | RUN CAP 25MFD/440V | 219.24
102119702 | RUN CAPACITOR | USE 518100307
102119704 | RUN CAPACITOR | USE 518100308
102119706 | RUN CAPACITOR (GB1254) | USE 518100310
102119803 | OVERLOAD PROTECTOR (GT551) OBS | 87.05
102120101 | DRAIN TUBE-BOTTOM DRAIN CUBER | 53.3
102120601 | LIQUID LEVEL CONTROL (GB421/GB | 390.84
102120901 | MOTOR SHAFT EXTENSION | 135.85
102121001 | FRONT CAM PIN (2 PER PKG) | 33.2
102121101 | ICE DEFLECTOR | 56.26
102121201 | FAN MOTOR (GB427/GB437/GB620/G | 735.89
102121402 | FAN SUPPORT (GT331A) | 27.18
102121403 | FAN SUPPORT (GT551A) | 58.87
102121404 | FAN SUPPORT GB650,1250,560 | 33.76
102121601 | PROBES, CAP & TUBE (GB) | 253.17
102121602 | PROBES, CAP & TUBE (GT331) | 253.17
102121701 | P & D SWITCH (ALL NEOS) | 308.82
102121703 | INTERLOCK SWITCH T-250/T-260 | 46.2
102121704 | SELECTOR SWITCH - T250/T260 | 120.8
102122001 | HARVEST REG. VALVE (GB430/630/ | 304.98
102122101 | CAM SHAFT (GT300 CLASSIC ONLY) | 235.4
102122102 | SELECTOR SHAFT | 315.35
102122103 | DRIVE SHAFT - CRUSHER | 636.62
102122201 | CAM SHAFT BRACKET-FRONT (GT331) | 44.42
102122501 | SELECTOR KNOB | 61.14
102122601 | SWITCH ACTUATOR LINK | 23.7
102122701 | HOPPER CAP | 190.98
102123001 | COMB | 701.75
102123101 | SELECTOR PLATE | 190.98
102123401 | ELECTRICAL BOX COVER (GT) | 181.15
102123501 | WATER LINE RESTRICTOR (MGB644W)-HEATER CABLE | 16.05
102123701 | RELIEF VALVE (MGB644W) | 621.81
102123801 | ACTUATOR MOTOR 115 V. ELECTRO | 755.04
102123802 | ACTUATOR MOTOR 230 V. ELECTRO | 755.04
102124101 | ACTUATOR MOTOR CAPACITOR - GT361, GT561, GB561 | 51.07
102124102 | CAPACITOR 1 MFD. (REX) 230 V. | 42.63
102124215 | COMPRESSOR RETROFIT KIT | 2151.07
102124216 | COMPRESSOR RETROFIT KIT | 2773.75
102125301 | CRANKCASE HEATER (GB654R) | 153.96
102125701 | DRIVE PULLEY T-261/T-264 | 600.03
102125801 | DRIVEN PULLEY T-261/T-264 | 670.23
102125901 | DRIVE BELT T-261/T-264 | USE 511100601
102126001 | BEARING T260/270/280 | 441.54
102126101 | CUTTER WHEEL ASSEMBLY | 1850.61
102126501 | PANEL SCREWS (10) #8-18 S.S. | 15.99
102127101 | CAMSHAFT GB450/650/1250 GT550 | 532.1
102128001 | WATER PROBE-SHORT ALL GB/GT550 | 53.3
102128101 | WATER PROBE-LG GB/GT5 COM ALL | 53.3
102128201 | WATER PROBE-SHORT GT350 ONLY | 53.3
102128801 | START CAPACITOR-T260 CRUSH MTR | 236.29
102128901 | RUN CAPACITOR-T260 CRUSHER MTR | 305.56
102129001 | DRAIN TUBE-GT350 W/BACK DRAIN | 32.34
102129101 | DRAIN PAN/CHUTE-GT350 BK DRAIN | 319.45
102129201 | ACTUATOR MOTOR-GB 115V | 755.04
102129202 | ACTUATOR MOTOR-GB 230V 50/60HZ | 755.04
102135301 | Ball Valve, 3/8" FP | 97.04
102135401 | Tube, copper connector, 3/8" | 48.52
102135501 | Bushing, 1/2" x 3/8" pipe, | 35.94
102135601 | Tee, 1/2" x 1/2" comp. x 3/8" | 70.09
102136301 | Fuse, Replacement 4 Amp 300 V | USE 510113401
102137001 | WATER TUBE-GB560/1060 | 37.74
102137201 | ACTUATOR MOTOR BOX COVER - GT56X, GB56X, GB1064X | 27.95
102137301 | CONTROL BOX COVER-GB560/1060 | 42.5
102137401 | TOP PANEL-GB560/1060 | 233.9
102137501 | RIGHT SIDE PANEL-GB560 | 233.9
102137601 | ICE DEFLECTORS-GB560/1060 | 89.19
102137801 | DRAIN PAN-GB560/1060 | USE 505109401
102137901 | FRONT PANEL-GB560 | 138.93
102138001 | SWITCH-WATER PLATE AND CAM ARM | USE 102147701
102138301 | WATER VALVE 115V GB561,GT361 | 144.12
102138401 | WATER VALVE 230V GB564 | USE 504103502
102138501 | ICE-CLEAN SWITCH 360/560/1060 | USE 510109701
102138601 | ON-OFF SWITCH 360/560/1060 | 27.26
102139101 | WATER VALVE 230V GB1064 | 239.69
102139201 | FAN MOTOR 115V 361A/561A | USE 516101801
102139301 | FAN MOTOR 230V 364/564/1064A | USE 516101802
102139401 | LEFT SIDE PANEL GB1060 | 233.9
102139501 | RIGHT SIDE PANEL-GB1060 | 183.51
102139601 | STACKING CHUTE GB560/1060 | 206.66
102139701 | ICE DEFLECTORS-UPPER GB5/1060 | 47.31
102140601 | FAN MOTOR-RC214APV-230V | 1006.35
102140702 | COMPRESSOR GT361 - TECUMSEH TO EMBRACO | 1517.07
102140703 | COMPRESSOR GT361 - EMBRACO TO EMBRACO | 1517.07
102140901 | ACTUATOR MOTOR 115/60 | 755.04
102141001 | WATER DEFLECTOR - GT36X | 103.68
102141101 | SOLENOID VALVE GT364 GT/GB564 | 112.8
102141201 | SOLENOID VALVE GT361 GT/GB561 | 112.8
102141301 | SOLENOID VALVE GB1064 | 126.9
102141501 | WATERPLATE ASSEMBLY GT360C | 699.53
102141601 | WATERPLATE ASSEMBLY GT360HK | 699.53
102141801 | CAM SHAFT GT360 | 127.3
102141901 | AIR COOLED CONDENSER GT360A | 1087.21
102142001 | REPLACEMENT EVAP KIT GT360HK | 2758.88
102142101 | REPLACEMENT EVAP KIT GT360C | 2164.64
102142201 | DRAIN PAN GT360 | USE 505110401
102142301 | WATER TANK GT360C/HK | 283.41
102142401 | RELAY BOX ASSEM GT361 | 278.28
102142501 | CONTROL BOX COVER GT360 | 54.19
102142601 | CONTROL BOX COVER-GT560 | 54.19
102142701 | LEFT SIDE PANEL GB560/GT360 | 233.61
102142801 | LEFT SIDE PANEL-GT560 | 233.9
102142901 | RIGHT SIDE PANEL-GT560 | 183.51
102143001 | DISTRIBUTOR TUBE GT360 | 42.66
102143101 | ICE DEFLECTOR KIT GT360 | 87.78
102143201 | ICE DEFLECTOR KIT GT560 | 89.19
102143301 | WATER TANK GT560 & GB1064LC | USE 505110501
102143501 | TOP PANEL GT360 | 170.8
102143601 | TOP PANEL GT560 | 168.96
102143701 | FRONT PANEL GT360 | 134.56
102143801 | FRONT PANEL GT560 | 222.55
102143901 | BIN & EVAPORATOR PROBE ASY FOR | 130.03
102144101 | FRONT PANEL GB1060 | 289.04
102144501 | EVAPORATOR GB C FLAT PAN-EN | 2759.61
102144601 | EVAPORATOR GB HK FLAT PAN-EN | 2759.61
102144701 | CONTACTOR (GB427/437/620/630/1 | 255.83
102144901 | FUSEHOLDER (LOW PROFILE) KIT | 43.13
102145101 | RELAY - POTENTIAL | 70.99
102145701 | EVAPORATOR PROBE KIT - 1.8 PCB | 57.52
102145801 | BIN PROBE KIT -1.8 PCB | USE 510121901
102145901 | CONTROL BOARD KIT- PCB- 1.8 | 1140.76
102145902 | CONTROL BOARD KIT - T280 | 1071.32
102145903 | CONTROL BOARD KIT - SC200 | 1071.32
102146101 | BIN DRAIN KIT | 20.73
102146201 | DUAL WATER LEVEL FLOAT KIT | 174.5
102146301 | GRI PUMP WITH 75W PS | 941.67
102146302 | 2 GRI PUMP WITH 1 150W PS | 1854.97
102146303 | POWER SUPPLY REPLACE KIT 75W | 141.3
102146304 | POWER SUPPLY REPLACE KIT 150W | 178.24
102146305 | GRI PUMP REPLACEMENT KIT | 917.15
102146501 | B230 & B400 COVER REPLACEMENT | 381.52
102146701 | B650 COVER REPLACEMENT KIT | 422.98
102146801 | B950 COVER REPLACEMENT KIT | 450.63
102146901 | ACCUMULATOR KIT - GB1064R | 310.82
102147701 | MAGNETIC PLATE SWITCH KIT | 95.38
102147901 | ACTUATOR MOTOR 115V / CAPACITOR - T281 | 755.04
102148001 | ACTUATOR MOTOR 230V / CAPACITOR - T281 | 755.04
102148101 | SC200 EVAPORATOR KIT- C CUBE | 1313.21
102148201 | SC200 WATER PLATE KIT - C CUBE | 1035.03
102148301 | FAN ASSEMBLY KIT - SC | 259.44
102148401 | SC200 WATER LEVEL FLOAT KIT | 63.86
102148801 | BIN HINGE KIT | 48.38
102148901 | SC DOOR STOP | 17.73
102149001 | WATER TANK - SC | 154.82
102149101 | LIMIT SWITCH OPERATOR KIT | 33.52
102149201 | COMPRESSOR KIT GB/GT561 EMBRACO TO EMBRACO | 1627.45
102149202 | COMPRESSOR KIT GB/GT561 TECUMSEH TO EMBRACO | 1528.39
102149301 | COMPRESSOR KIT GB/GT564 EMBRACO TO EMBRACO | 1528.39
102149302 | COMPRESSOR KIT GB/GT564 TECUMSEH TO EMBRACO | 1528.39
102149401 | COMPRESSOR KIT GB1064 EMERSON TO EMERSON | 1551.84
102149402 | COMPRESSOR KIT GB1064 TECUMSEH TO EMERSON | 1885.67
102150101 | BIN PROBE HOLDER 5/16 OD STRAIGHT | 21.08
102150301 | CRUSHER MOTOR T250/260/270/280 | 1046.6
102150401 | T280 SERIES DEFLECTOR LIMIT SWITCH MAGNETIC | 140.25
102150501 | CAM ARM LIMIT SWITCH MAGNETIC | 150.12
102151101 | WATER PUMP ASSEMBLY KIT - "C" CUBES | 449.26
102151201 | LCD-MODULE & RIBBON CABLE ASSEMBLY | USE 510128101
102151501 | GRI PUMP REPLACEMENT KIT - PUMP ONLY - "HK" CUBES | 860.15
102151502 | GRI PUMP WITH 75W POWER SUPPLY- "HK" CUBES | 945.87
102151503 | 2 GRI PUMPS WITH 1-150W POWER SUPPLY-"HK" CUBES | 1855.05
202110201 | BOTTOM GUARD ASSY- T260/T270 | 174.17
202113701 | BIN COVER B230 AND B400 | 133.34
202113901 | BIN COVER B650 | 189.77
202114601 | BIN COVER ASSEMBLY B950 | 223.78
202115301 | DOOR LATCH - ALL GT & GB UNITS W/O CRUSHER | 28.34
301126901 | DEFLECTOR - T260/270 | 25.61
301149901 | SAFETY SWITCH BRACKET- CRUSHERS | 6.91
301182301 | SELECTOR PLATE - T280 | 29.36
303121202 | DRAIN TUBE - GT560 ALL | 29.44
303141501 | BIN PROBE HOLDER - ALL | 8.84
503100530 | SCREW #10-16 x 1IN S.M. | 6.5
503104201 | BOLT, BIN COVER, 1/4-28 | 16.58
503105001 | SCREW-8-18 x 5/16 TYPE B | 6.5
503106001 | SC DOG POINT SET SCREW | 17.01
504101001 | LIQUID LEVEL CONTROL | 352.08
504103601 | WATER VALVE 120V - SC | 112.8
504104401 | EXPANSION VALVE 1/4 x 1/ | 310.43
504104501 | SC DUMP VALVE 115V | 73.59
505110401 | DRAIN PAN GT360 | 258.66
505110501 | WATER TANK | 271.62
505116401 | SC OPERATOR LEFT | 15.17
505116501 | SC OPERATOR RIGHT | 16.22
505116601 | SC LINK BUSHING | 6.56
506102301 | LIMIT SWITCH OPERATOR | 14.27
506102401 | MOTOR SHAFT EXTENSION | 16.58
509101302 | LINE REDUCERS (X2) FOR 1/4" LINE SET-USED ON RC214APV ONLY | 6.5
510100502 | CONTACTOR-DEF PURP | 81.73
510109701 | SWITCH SPDT TOGGLE | 27.26
510110601 | ROCKER SWITCH SPST QUICK CONNECT | 22.11
510113401 | FUSE | 8.39
510121901 | EVAPORATOR AND BIN TEMP PROBE | 54
510127701 | HARVEST ASSIST SWITCH PUSH BUTTON - SC | 19.33
510128801 | TEMP PROBE CLIP | 6.92
511100601 | TIMING BELT T280 | 83.09
514100310 | COIL 70932702 | 1007.61
516101501 | ACTUATOR MOTOR - SC | 273.71
516101802 | FAN MOTOR | 449.26
516103001 | MOTOR 115V AND 230V | 273.16
516103101 | SC FAN BLADE-PLASTIC | 11.79
518100212 | START CAP | 113.69
518100307 | RUN CAPACITOR | 122.59
518100307 | RUN CAPACITOR | 122.59
1803200100 | Leg mount | 6.55
1803200200 | Spinner | 5.95
1810166100 | Gasket | 16.81
1810166200 | Gasket | 23.27
1849742100 | Ribbon cable and board | 19.55
1851700200 | Evaporator thermistor | 14.18
1851700401 | condenser thermistor | 13.79
1851701700 | Bin thermistor | 17.3
1851767400 | Wireharness | 52.01
1851767500 | Wireharness | 52.01
1854703201 | water inlet valve | 77.13
1854706010 | Hot Gas Valve body | 183.69
1854706410 | Hot Gas Valve coil | 29.82
1854706810 | Hot Gas Valve body | 137.84
1854706820 | Hot Gas Valve coil | 34.41
1854706900 | water inlet valve | 112.33
1858442401 | Transformer | 20.92
1858443700 | Compressor | 887.54
1858443800 | Compressor | 1079.94
1858443900 | Compressor | 1070.16
1858900900 | Pump | 115.45
1858901500 | Pump | 151.33
1860026200 | Complete assembly | 364.93
1861302600 | Water supply | 47.02
1861302700 | Cleandraintube | 44.29
1861303100 | Gasket | 22.88
1861303200 | Evaporatorcover | 87.69
1861400300 | Spray bar assembly | 8.31
1861506511 | Hot Gas Valve body | 84.66
1861508502 | Condensor | 170.01
1861508603 | Evaporator | 425.73
1861531200 | Evapwater inlet fitting | 5.67
1861605501 | Door hinge | 22.77
1861900000 | Magnetic catch | 9.19
1861900800 | Air filter | 36.56
1864205600 | Caps | 5.95
1864205700 | Evaporatorcover | 119.95
1864205800 | Evaporatorcover | 154.07
1864500501 | Overflow tube | 5.95
1864508000 | Spray bar top plugs | 10.27
1864508200 | Spray bar end plugs | 5.95
1864533000 | Water supply | 10.75
1864533700 | Cleandraintube | 10.07
1864703500 | Spray Platform 3 pieces | 17.69
1864800101 | Ice Scoop | 19.85
1864803800 | Spray Platform 3 pieces | 13.59
1864803900 | Spray Platform 3 pieces | 12.02
1864804700 | Spray Platform 3 pieces | 13.59
1864811500 | Membrane for controller | 10.16
1864813600 | Controller | 231.29
1864813700 | Controller | 231.29
1864813800 | Controller | 231.29
1871018001 | Complete assembly | 413.32
1871018701 | Complete assembly | 517.14
1880022501 | Condensor | 442.06
1880022601 | Condensor | 621.55
1880027204 | Evaporator | 872.69
1880027304 | Evaporator | 584.2
1880032900 | Innerbindoor | 154.07
1880034200 | Innerbindoor | 121.81
1880035700 | Curtain | 86.71
1880035800 | Curtain | 118.98
1880035900 | Curtain | 30.3
1889001201 | Innerbindoor | 86.52
5550144001 | BIN LEG 6" | 25.22
55R01052 | SILICONE WTR PLATE SPRAY | USE 55501052
GAA0020301 | WATER TANK | 674.16
GAR00203 | MAIN WTR TANK | USE GAA0020301
GAR00701D | CONDENSER WATER REGULATOR | 391.72
GBB0023501 | BRACKET | 7.75
GBB0040304 | WATER DIST. TUBE END CAP | 6.92
GBB00959 | ROLL PIN 1/85 X 1 HD SPIRAL SS- CRUSHERS | 6.5
GBB0302503 | DOOR LATCH - FOR CRUSHERS | 6.92
GBR00111 | EVAP. SHIM KIT | 53.59
GBR00113 | EVAP SPACER -FRONT | USE GBB00113
GBR00126 | REPLACEMENT EVAP.SPACER | 19.31
GBR00200 | WATER PLATE - C R/P | 744.88
GBR00202 | REPLACEMENT WATER DEFLECTOR | 80.39
GBR00208 | WTR.PUMP KIT | 521.05
GBR00208B | WATER PUMP & MOTOR W/FAN & HOU | 1000.84
GBR00208FFB | WATER PUMP & FAN MOTOR | 910.64
GBR00223 | WTR.PLATE PLUG KIT | 37.83
GBR00235 | WATER PLATE CAM BRACKET | 33.41
GBR00245 | REPLACEMENT TANK OUTLET SCREEN | 36.59
GBR00270 | WATER PLATE HALF-CUBE/CUBE-LET | 699.53
GBR0028206 | WATER PLATE HINGE SET | 245.93
GBR00285 | REPLACEMENT WTR PUMP BRACE | 26.66
GBR00403 | DIST. TUBE KIT | 99.31
GBR00580 | SHIM KIT | 47.29
GBR00668 | REPLACEMENT PLASTIC ICE CHUTE | 133.25
GBR00813 | BIN THERMOSTAT-120 CAP.TUBE | 207.27
GBR00814 | THERMOSTAT KIT | 133.25
GBR00826 | CAPACITOR KIT | 84.39
GBR00837 | THERMOSTAT KIT | 133.25
GBR00856 | THERMOSTAT KIT | 111.58
GBR00897 | ACTUATOR TOGGLE WIRING KIT | 148.05
GBR00909 | WATER PLATE SPRINGS (2) | 54.68
GBR00933 | CAM SHAFT BRKT. KIT REAR | 60.06
GBR00937 | CAM SHAFT BRKT. KIT FRONT | 42.64
GBR00942 | REPLACEMENT CAM SHAFT W/COLLAR | 178.1
GBR00949 | REAR CAM ASSEMBLY KIT | 85.12
GBR00951 | SPRING BOSS KIT | 26.12
GBR00959 | ROLL PINS-CAM 10/PKG | USE GBB00959
GBR00969 | REPLACEMENT FRONT CAM ASM | 88.28
GBR01353 | AIR-COOLED CONDENSER | 701.93
GBR01375 | WATER SOLENOID VALVE KIT 1.0 G | 88.83
GBR0137504 | WTR.VALVE REPAIR KIT-SINGER | 33.76
GBR01376FF | WATER SOLENOID VALVE COMPLETE | 142.13
GBR01377 | REPLACEMENT SOLENOID COIL -WTR | 58.62
GBR01379 | REPLACEMENT STRAINER | 58.62
GBR01889 | 1/2" MALE SELF-SEALING COUPLING | 83.79
GBR01890 | 3/8" MALE SELF SEAL COUPLING | 86.04
GBR02087 | KD CUBER HOSE KIT | 37.83
GBR02218 | 1/2" FEMALE SELF SEAL COUPLING | 223.56
GBR02219 | 3/8" FEMALE SELF-SEALING COUPLING | 223.59
GBR02290 | CHECK VALVE 3/8 | 31.7
GBR02343 | RECEIVER TANK KIT | 357.76
GBR02351 | HEAD PRESS CONTROL | 257.61
GBR02359 | TXV GT56X-GB56X-GB1064X | USE 515102201
GBR02750 | FILTER DRIER | 69.92
GBR03170 | REPLACEMENT WTR LEVEL PROBE AS | 234.07
GBR03172 | WATER LEVEL TUBE | 62.18
GTR00204B | WTR PUMP KIT | USE 102151101
GTR00206FFB | WATER PUMP KIT | USE 102151101
GTR00221 | WATER PLATE - C R/P | 814.28
GTR00222 | WATER PLATE - HK/K R/P | 814.28
GYR00201 | REPLACEMENT MAIN WTR TANK | 302.01
GYR00219 | REPLACEMENT SCREEN - TANK OUTLET | 17.42
GYR00361 | WATER SOLENOID VALVE | 101.27
GYR00362FF | WATER SOLENOID VALVE COMPLETE | 190.1
GYR00402 | REPLACEMENT WTR TUBE-DISTRIBUT | 37.42
TTR02027 | PUSH BUTTON SWITCH | 186.81
TTR05144 | PUSH BUTTON | 55.7